## WQ checklist
| Submission of Water Quality Data Elements | Y/N | Notes
1 | Raw data submission: Were at least 80% of the raw files uploaded to the AP within two weeks of the deployment end time? | Y
2 | Raw data submission: Were raw files (.dat, .bin, or .csv) uploaded to the shared folder unaltered? | Y
3 | Raw data submission: Were raw files no longer than 4 weeks? | Y
4 | Raw data submission: Were calibration and field logs uploaded to the shared folder for each station and complete? | Y
5 | Quarterly data submission: Were the quarterly Secondary QAQC'd files, including the quarterly metadata, uploaded to the shared folder by each quarter's deadline? | Y
6 | Quarterly data submission: Is the quarterly file naming convention correct for data and metadata files? ex: bbschwq2019Q1 and bbswq01-03.19m.prov | Y
7 | Quarterly data submission: Is the quarterly metadata complete? Does it contain all required components from the template and explanations for all suspect and anomalous data so the AP Data Coordinator can apply the flags and codes to the quarterly data files? | Y
8 | Quarterly data submission: (AP Data Coordinator responsibility) For the quarterly Secondary QAQC'd files, were all pre- and post-, overlapping deployment and data from the previous/following year removed? Were all -4 and -5 flags addressed? Do all data with -3, 1, or 5 flags also have QAQC codes? | Y
9 | Final yearly submission: Is the metadata naming convention correct (ex: acewq01-12.12m.prov), in .DOC format, and was it uploaded to shared folder? | Y
10 | Final yearly submission: Is the yearly Secondary QAQC'd data file naming convention correct (bbschwq2019)? | Y
11 | Metadata Completeness Section - Is all the following information included? | Y
12 | Heading: Aquatic Preserve name, months and year the document covers, and date the last updates were made | Y
13 | Section 1: Contact persons
14 | Section 2: Entry verifications (how data were QAQC’d, person responsible for data management include AP Data Coordinator, justification or QC of ChlFluor parmater if reported) | Y
15 | Section 3: Research objectives | Y
16 | Section 4: Methods (describe deployment structure including depth from bottom, deployments, calibrations, types of standards used, QAQC of instruments (detailed for ChlFluor if reported including initial comparison information), and data intervals) | Y
17 | Section 5: Site location and character: lat/long, tidal range, salinity range, type and amount of freshwater input, depth, bottom habitat, pollutants, and watershed description for each sampling site. Include the a station timeline table and any other relevant descriptive information. | Y
18 | Section 6: Data collection period (must include the first and last reading the sonde recorded in the water for each deployment) | Y
19 | Section 7: Distribution | Y
20 | Section 8: Associated research | Y
21 | Section 9: Sensor specs (sonde models and configurations in use, physical descriptors, DO data disclaimer) | Y
22 | Section 10: Coded variable definitions (explains the station codes, ex. bbschwq = Big Bend Seagrasses Aquatic Preserves Chassahowitzka water quality station) | Y
23 | Section 11: QAQC flag definitions | Y
24 | Section 12:QAQC code definitions | Y
25 | Section 13: Post deployment information (at a minimum include date and post cal info for SpCond, DO%, pH (7), and Turb (0 NTU)) | Y
26 | Section 14: Other Remarks/Notes | Y
27 | Yearly Data File Completeness Section | Y
28 | Was depth reported in meters? | Y
29 | Are the data collected in local standard time (not daylight savings or GMT)?
30 | Were all station codes listed correctly in the data (using the Aquatic Preserve code, sampling site code and data type code)? | Y
31 | Were all pre- or post-deployment data removed from the file? | Y
32 | Was the file free of duplicate/overlapping records and any records from the previous/following year? | Y
33 | Were all deployments included in the yearly files? | Y
34 | Were all -4 and -5 flags addressed (changed to -3 or 1) in the data file? | Y
35 | Were NO -4 or -5 flags changed to 0 flags? | Y
36 | Were all -3, 1, and 5 flags accompanied by a QAQC code? | Y
37 | Were all negative depth and turb data that were NOT rejected flagged as suspect (1) and coded with the CAF acceptable calibration/accuracy error comment, the CAP depth affected by atmospheric pressure comment, or another appropriate QAQC code? | Y
38 | Were all out of water instances rejected and documented? | Y
39 | Were all rejected or suspect turbidity spikes coded STS and turbidity spikes that passed QC checks coded CTS? | Y
40 | Were all instrument or sensor malfunctions (mechanical, electrical, electronic problems) documented and the data rejected? | Y
41 | If the temperature probe malfunctioned, were ALL data rejected and documented (except turbidity for EXO ONLY)? In the event of such severe failure of the EXO CT probe that the sonde powers it down, QC'd DO%, pH, and ChlFluor data MAY not need to be rejected. | Y
42 | If the conductivity probe malfunctioned, were the spcond, sal, DOmg/L and depth data rejected and documented? | Y
43 | Were all erroneous data due to a missing sensor rejected and documented? | Y
44 | Were all erroneous data due to a poor calibration rejected and documented? | Y
45 | Were all other sensor problems (sensor drift, membrane problems, biofouling, poor calibrations, sensor diagnostics, etc.) addressed (flagged as suspect or rejected) and documented? | Y
46 | Were all negative data, including ChlFluor, other than temperature, depth or turbidity rejected? | Y
47 | Were only water QAQC codes used in the data file? | Y
48 | Was the file free of deleted values or periods (which used to denote missing or deleted data)? | Y
49 | Was the file free of any corrected values other than for a depth offset (or similar concrete correction)? | Y
50 | Catch-all: Were all other problems of importance with the data addressed (rejected or marked suspect and QAQC codes applied)? | Y
51 | Tertiary Review process: Did the Aquatic Preserve correspond with the AP Data Coordinator in a timely manner? | Y | (please acknowledge the AP Data Coordinator's correspondence within 2 weeks to schedule a time for your review.)
| Total Yes | 51
| Total No | 0
| Grade | #DIV/0!